## Asset Tag _Naming
The assets (equip) naming should follow our GT naming standard.
For example:
167-AHU-01-0001
First 3 digits for the building number
Dash
Second 3 letter is for equip type
Dash
Next two digits for floor (01 the lowest floor in the structure)
Dash
Next four digits are the serial numbers

## Asset Groups
Georgia Institute of Technology - Facilities Design and Construction/ Operations and Maintenance
Assets tracked through COBie to AiM
Omni Class | Asset Group Acronym | Description
23-33 49 23 | ACV | AC VENT
23-33 49 23 | ADT | ACID DILUTION TANK
23-33 49 23 | ACT | AIR CURTAIN
23-33 49 23 | AHU | AIR HANDLER UNIT
23-33 27 00 | AHH | AIR HANDLER HUMIDIFIER
| ASP | AIR SEPERATOR
23-35 37 11 | ATS | AUTOMATIC TRANSFER SWITCH
23-33 41 11 | BCU | BLOWER COIL UNIT
23-33 11 00 | BLR | BOILER
23-27 31 11 | BFP | BACKFLOW PREVENTER
23-33 29 00 | BPD | BYPASS DAMPER
23-35 31 31 | BSG | BUILDING SWITCHGEAR
23-27 21 00 | CAC | CENTRIFUGAL AIR COMPRESSOR
23-27 17 00 | CDP | CONDENSATE PUMP
23-19 31 19 | CDR | ENVIRONMENT CHAMBER
23-33 21 00 | CHL | CHILLER
23-33 23 00 | CLT | COOLING TOWER
23-39 41 11 | COF | COALESCING FILTERS
23-27 11 00 | CTL | CONDENSATE PUMP CONTROLLER
23-27 55 29 | CTS | CONDENSATE TANK STRAINER
23-33 23 00 | CTW | COOLING TOWER LOOP
| CWB | CHILLED WATER BEAM
23-27 17 00 | CWP | CHILLED WATER PUMP
23-27 55 29 | CWS | CHILLED WATER STRAINER
23-33 41 17 | CVS | CONSTANT VOLUME SUPPLY
23-27 29 19 | DAT | DAY TANK
23-31 31 00 | DWF | DRINKING WATER FOUNTAIN
23-33 27 13 | DHF | DEHUMIDIFIER
23-33 41 17 | DTU | TERMINAL UNIT
23-31 29 00 | DWH | DOMESTIC WATER HEATER
23-27 23 11 | ECO | ECONOMIZER
23-35 25 11 | ELM | ELECTRIC METER
23-35 47 13 | ELU | EMERGENCY LIGHTING UNIT
23-35 29 27 | DSC | ELECTRICAL DISCONNECT
23-23 11 11 | ELV | ELEVATOR
23-33 55 00 | ERU | ENERGY RECOVERY UNIT
23-29 37 13 | ESU | EMERGENCY EYE WASH STATIONS
23-29 37 13 | ESU | EMERGENCY SHOWERS
23-33 41 19 | ETU | EXHAUST TERMINAL UNIT
23-33 31 19 | EXF | EXHAUST FAN
| EXT | EXPANSION TANK
23-33 31 19 | FAF | FRESH AIR SUPPLY FAN
23-29 29 00 | FAM | FIRE ALARM
23-29 31 11 | FAP | FIRE ANNUCIATOR PANEL
23-29 31 13 | FCP | FIRE CONTROL PANEL
23-29 29 00 | FAM | FIRE SUPRESSION SYSTEM
23-31 11 00 | FCT | FAUCET
23-33 41 11 | FCU | FAN COIL UNIT
23-33 31 15 | FHU | FUME HOOD UNIT
23-31 27 00 | FLD | FLOOR DRAINS
| GDO | GARAGE DOOR OPENER
23-33 49 27 | GRH | GRAVITY RELIEF HOOD
23-39 33 17 | GTR | GREASE TRAP
23-33 43 00 | HCU | HVAC CONDENSOR UNIT
23-33 55 00 | HRU | HEAT RECOVERY UNIT
| HRW | HARVEST RAINWATER SYSTEM
23-33 15 15 | HTC | HEAT TRACE ON WATER LINES
23-33 15 00 | HTR | HEATER
23-27 23 00 | HTX | HEAT EXCHANGER, PLATE EXCHANGER, SHELL & TUBE EXCHANGER
23-33 27 00 | HUM | HUMIDIFIER
23-27 17 00 | HWP | HOT WATER PUMP
23-27 55 29 | HWS | HOT WATER STRAINER
| HVS | MV SWITCHING
23-21 21 29 | ICE | ICE MACHINE
23-33 29 00 | INV | INLET VANE / OUTSIDE AIR DAMPER
23-33 41 19 | LEV | LAB EXHAUST VALVE
23-33 41 17 | LSV | LAB SUPPLY VALVE
23-35 47 00 | LUM | LUMINAIRE/LIGHT FIXTURE
| MTR | MOTOR
23-27 31 29 | MMV | MIXING VALVE
23-39 25 00 | NGA | NATURAL GAS METER
23-29 15 11 | NTP | NT PROTECTOR VAULTS
23-11 29 27 | ODF | OUTDOOR FOUNTAIN
| PAC | PRECISION AIR CONDITIONING / PACKAGE AC SYSTEM
23-35 31 17 | PAN | ELECTRICAL PANEL BOARD
23-35 11 17 13 | PHV | PHOTOVOLTAIC SYSTEM
23-33 41 13 | PIU | POWERED INDUCTION UNIT
23-27 17 00 | PMP | CENTRIFUGAL PUMP
23-27 31 49 | PRV | PRESSURE RELIEF VALVE
23-33 47 00 | RAD | COMPRERSSED AIR DRIERS
23-33 15 00 | RAH | RADIANT HEAT
23-33 31 19 | RAF | RETURN AIR FANS
23-13 41 39 | RDR | ROOF DRAIN
23-33 25 00 | RTU | ROOF TOP AC UNIT
23-33 39 21 | SAC | SPLIT AC SYSTEM
23-35 11 17 15 | SOP | SOLAR COLLECTOR PLATE
23-27 37 15 | STR | STEAM AIR TRAP
23-35 31 00 | SWC | LOOP SWITCH
23-35 31 29 | MSB | SWITCHBOARD
23-35 13 17 | TRN | DRY TYPE TRANSFORMER CIRCUIT BREAKER
23-33 41 17 | TRU | TERMINAL AIR UNIT WITH REHEAT
23-33 15 00 | UHH | UNIT HEATER
23-33 15 00 | UHW | UNIT HEATER UNDER SLAB
23-33 51 15 | UVL | ULTRAVIOLET LAMP
23-33 39 00 | WAC | WINDOW AIR CONDITIONER
23-27 29 19 | WAT | WATER STORAGE TANK
23-39 27 00 | WMT | WATER METER
23-27 17 00 | VAC | VACUUM PUMP
23-33 41 17 | VAV | VARIABLE AIR VOLUME
23-35 17 15 | VFD | VARIABLE FREQUENCY DRIVE
23-35 17 00 | VSD | VARIABLE SPEED DRIVE
23-33 41 17 | VVS | VARIABLE AIR SUPPLY
23-33 41 19 | VVE | VARIABLE AIR EXHAUST
22-26 05 26 | GBE | Grounding and Bonding for Electrical Systems
22-10 55 33 | DDB | Data Distribution Boxes
22-10 43 00 | EAS | Emergency Aid Specialties

## Manufacturer Codes
Manufacturer | Description
AAF | AAF
AAF AIR CONDITIONI | AAF AIR CONDITIONI
AAF AMERICAN AIR F | AAF AMERICAN AIR F
AAF/NELSONAIRE | AAF/NELSONAIRE
ABB | ABB GROUP
AC250P | AC250P
ACME | ACME
ACME CENTRIMASTER | ACME CENTRIMASTER
ACS | ACS - ATLANTA COMPRESSOR SALES
ADDISON | ADDISON
AERCO | AERCO
AERONCA | AERONCA
AEROSONICS, INC | AEROSONICS, INC
AIR FLOW COMPANY | AIR FLOW COMPANY
AIRTHERM | AIRTHERM
AJAX ELEC | AJAX ELEC
ALFA LAVAL | ALFA LAVAL
ALL PURE | ALL PURE
AMANA | AMANA
AMERICAN BLOWER | AMERICAN BLOWER
AMERICAN STANDARD | AMERICAN STANDARD
AMICO | AMICO
AMTROL | AMTROL
AO SMITH | AO SMITH
APC | APC
APC / LARKIN HEATC | APC / LARKIN HEATC
APCO | APCO
AQUA TREATMENT | AQUA TREATMENT
ARMSTRONG | ARMSTRONG
ARROW UNITED INDUSTRIES | ARROW UNITED INDUSTRIES
ARROW/A | ARROW/A
ASCO | ASCO
ATLAS COPCO | ATLAS COPCO
AURORA | AURORA
AURORA PUMP COMPANY | AURORA PUMP COMPANY
B.A.C. | B.A.C.
BAKER | BAKER
BALDOR | BALDOR
BALTIMORE | BALTIMORE
BANDIT | BANDIT
BARD | BARD
BARRY | BARRY
BARTOW PRECAST | BARTOW PRECAST
BELL & GOSSETT | BELL & GOSSETT
BERKO | BERKO
BERKO/MARLEY | BERKO/MARLEY
BOBCAT | BOBCAT
BOHN/HEATCRAFT | BOHN/HEATCRAFT
BORG WARNER/AIR PR | BORG WARNER/AIR PR
BOSCH | BOSCH
BRADFORD WHITE
BREIDERT | BREIDERT
BRUNDAGE POWERLINE | BRUNDAGE POWERLINE
BRUNNER ENG MFG | BRUNNER ENG MFG
BRYANT | BRYANT
BUFFALO | BUFFALO
BUFFALO FORGE | BUFFALO FORGE
BUICK | BUICK
BULLDOG
C.CARRY & ASSOC | C.CARRY & ASSOC
CALIFORNIA AIR TOOLS | CALIFORNIA AIR TOOLS
CAPTIVE-AIRE SYSTEM | CAPTIVE-AIRE SYSTEMS
CARNES | CARNES
CARNES/TUTTLE | CARNES/TUTTLE
CARRIER | CARRIER
CARRIER BLOWER ILG | CARRIER BLOWER ILG
CARRIER/ARCOAIRE | CARRIER/ARCOAIRE
CARRY | CARRY
CATERPILLAR | CATERPILLAR
CENTRE MASTER | CENTRE MASTER
CENTRI-MASTER | CENTRI-MASTER
CERAMIC COOLING TO | CERAMIC COOLING TO
CHALLENGE AIR | CHALLENGE AIR
CHALLENGER
CHAMPION | CHAMPION
CHEV | CHEV
CHEVROLET | CHEVROLET
CHEVY | CHEVY
CHICAGO PUMP CO | CHICAGO PUMP CO
CHROMALOX | CHROMALOX
CHRYSLER | CHRYSLER
CHRYSLR | CHRYSLR
CLARK | CLARK
CLARY&ASSOCIATE IN | CLARY&ASSOCIATE IN
CLAS II | CLAS II
CLASS II | CLASS II
CLIMATEWORX | CLIMATEWORX
CLIVUS | CLIVUS
CLUBCAR | CLUBCAR
CLUBCAR I | CLUBCAR I
COIT | COIT
COLEMAN | COLEMAN
COLUMBIA LIGHTING | COLUMBIA LIGHTING
COMFORT AIRE | COMFORT AIRE
COMMAND | COMMAND
COMPASS | COMPASS
COMPU-AIRE | COMPU-AIRE
CONTEMPO | CONTEMPO
COOK | COOK
COOL AIR | COOL AIR
COOLAIR | COOLAIR
COOPER | COOPER
CORNELLCOOKSON | CORNELLCOOKSON
CSA | CSA
CUMMINS | CUMMINS
CURTIS | CURTIS
CURTIS - TOLEDO | CURTIS - TOLEDO
CUSHMAN | CUSHMAN
CUTLER HAMMER
D DIETRICH
DANFOSS | DANFOSS
DATA AIRE | DATA AIRE
DATA-AIRE | DATA-AIRE
DAYTON | DAYTON
DAYTON "SPEEDAIRE" | DAYTON "SPEEDAIRE"
DELL CORP | DELL CORP
DELONGHI
DENN | DENN
DENSO | DENSO
DESERT AIRE | DESERT AIRE
DODGE | DODGE
DODGEE | DODGEE
DOMESTIC PUMP | DOMESTIC PUMP
DORSEY | DORSEY
DRI STEEM | DRI STEEM
DUNHAM-BUSH | DUNHAM-BUSCH
DYNICS | DYNICS
EAGLE SUN | EAGLE SUN
EASY-GO | EASY-GO
EATON | EATON
EATON CUTLER HAMMER | EATON CUTLER HAMMER
EBCO | EBCO
ECO SMART | ECO SMART
ECP | ECP
EEMAX | EEMAX
ELITE | ELITE
ELKAY | ELKAY
EMIO | EMIO
ENER-CON II | ENER-CON II
ENERCON | ENERCON
ENERVEX | ENERVEX
ENVIRO-TEC | ENVIRO-TEC
ERINCRAFT | ERINCRAFT
ETC | ETC
EVAPCO | EVAPCO
EVAPCO INC | EVAPCO INC
FASCO | FASCO
FEDERAL PACIFIC
FEDERAL PUMPS | FEDERAL PUMPS
FISHER HAMILTON | FISHER HAMILTON - SAFEAIR
FLIEBERT | FLIEBERT
FORD | FORD
FREIDRICH | FREIDRICH
FRIEDRIC | FRIEDRIC
FRIEDRICH | FRIEDRICH
FRIEIDAIRE | FRIEIDAIRE
FUJI ELECTRIC | FUJI ELECTRIC
FUSION LIGTHING | FUSION LIGHTING
GARDNER DENVER | GARDNER DENVER
GE | GE
GE ELECTRIC | GE ELECTRIC
GEENHECK | GEENHECK
GENERAC | GENERAC
GENERAL ELECTRIC | GENERAL ELECTRIC
GENRAC | GENRAC
GM | GM
GMC | GMC
GODMAN GMT | GODMAN GMT
GOODMAN | GOODMAN
GOODMAN CO | GOODMAN CO
GOODMAN MANUFACT. | GOODMAN MANUFACT.
GOODMAN MANUFACTUR | GOODMAN MANUFACTUR
GORMAN RUPP | GORMAN RUPP
GOULDS | GOULDS
GR DANE | GR DANE
GRAHM | GRAHM
GRAINGER
GREENHECK | GREENHECK
GRISWOLD | GRISWOLD
GRUNDFOS | GRUNDFOS
HALSEY TAYLOR | HALSEY TAYLOR
HALSEY-TAYLOR | HALSEY-TAYLOR
HALTON | HALTON
HAMILTON | HAMILTON LABORTORY SOLUTIONS
HAMPTON BAY | HAMPTON BAY
HANHISON | HANHISON
HANKINSON | HANKINSON
HANKISON | HANKISON
HARLEY | HARLEY
HARRINGTON | HARRINGTON
HARSCO | HARSCO
HEATCRAFT | HEATCRAFT
HFRIEDRICH | HFRIEDRICH
HI-TEN | HI-TEN
HIGASHIOSAKA | HIGASHIOSAKA
HMAPTON BAY | HMAPTON BAY
HOBBS | HOBBS
HOLOPHANE | HOLOPHANE
HONDA | HONDA
HONEYWELL | HONEYWELL
HOSHIZAKI | HOSHIZAKI AMERICA
HUBBELL | HUBBELL
HUMMER | HUMMER
HYDRO-FLOW BILL | HYDRO-FLOW BILL
HYDRO-FLOW BILL&GO | HYDRO-FLOW BILL&GO
HYDROTHERM | HYDROTHERM
HYFAB | HYFAB
ICD | ICD
ILG | ILG
INGER | INGER
INGERSOLL-RAND | INGERSOLL-RAND
INGERSOLL-RAND AIR | INGERSOLL-RAND AIR
INT. ENVIR. CORP. | INT. ENVIR. CORP.
INT. ENVIRON. CORP | INT. ENVIRON. CORP
INTERNATIONAL ENV | INTERNATIONAL ENV
INTERPACE CORP | INTERPACE CORP
IPT CORPORATION | IPT CORPORATION
ISUZU | ISUZU
ITE | ITE
ITT | ITT
JANITROL | JANITROL
JC/ESPEC | JC/ESPEC
JCI | JCI
JCI PURE FLOW | JCI PURE FLOW
JEEP | JEEP
JOHN WOOD COMPANY | JOHN WOOD COMPANY
JOHNSON | JOHNSON
JOHNSON CONTROLS | JOHNSON CONTROLS
JOHNSON SERVICE CO | JOHNSON SERVICE CO
KALMAR | KALMAR
KAWASAK | KAWASAK
KENMORE | KENMORE
KEWAUNEE | KEWAUNEE
KEYSTONE | KEYSTONE
KNIGHT | KNIGHT
KOHLER | KOHLER
KONE | KONE ENGINEERING COMPANY
KRUEGER | KRUEGER
KUBOTA | KUBOTA
LENNOX | LENNOX
LENNOX CB18-65-EP | LENNOX CB18-65-EP
LENNOX-INDUSTRIES | LENNOX-INDUSTRIES
LENOX | LENOX
LEONARD | LEONARD
LEREI | LEREI
LEROI | LEROI
LIBERTY | LIBERTY
LIEBERT | LIEBERT
LIEBERT SYS | LIEBERT SYS
LIEBERT SYSTEMS | LIEBERT SYSTEMS
LINCO | LINCO
LINCOLN | LINCOLN
LINCOLN ELECTRIC | LINCOLN ELECTRIC
LISKEY AIRE | LISKEY AIRE
LITTLE GIANT | LITTLE GIANT
LOCHINVAR | LOCHINVAR
LORAIN COOK | LORAIN COOK
LOREN COOK | LOREN COOK
LOREN COOK CO | LOREN COOK CO
LOREN COOK COMPANY | LOREN COOK COMPANY
LOUIS POULSEN | LOUIS POULSEN
LOW-BOY | LOW-BOY
LUTRON | LUTRON
MACROAIR | MACROAIR
MAGIC AIRE | MAGIC AIRE
MAGIC CHEF | MAGIC CHEF
MAGICAIRE | MAGICAIRE
MAGNATEK | MAGNATEK
MAJIC AIRE | MAJIC AIRE
MAMMOTH | MAMMOTH
MANITOWOC | MANITOWOC
MARATHON | MARATHON
MARATHON ELEC | MARATHON ELEC
MARATHON ELECTRIC | MARATHON ELECTRIC
MARATHON MOTOR | MARATHON MOTOR
MARKEL | MARKEL
MARLEY | MARLEY
MARLEY (AQUATOWER) | MARLEY (AQUATOWER)
MARLEY ENGINEERED | MARLEY ENGINEERED
MARLEY ENGINEERED PRODUCTS | MARLEY ENGINEERED PRODUCTS
MARLEY(AQUATOWER) | MARLEY(AQUATOWER)
MARS | MARS
MATALAIRE | MATALAIRE
MAXILUME | MAXILUME
MAXIM | MAXIM
MAYDAY | MAYDAY
MAZDA | MAZDA
MC CULLOUGH ELECTR | MC CULLOUGH ELECTR
MC QUAY | MC QUAY
MCQUARY | MCQUARY
MCQUAY | MCQUAY
MCQUAY SNYDER | MCQUAY SNYDER
MCQUAY/SNYDER GEN. | MCQUAY/SNYDER GEN.
MEPCO | MEPCO
MERCURY | MERCURY
METAL AIRE | METAL AIRE
METAL INDUSTRIES | METAL INDUSTRIES
METALAIRE | METALAIRE
METALCR | METALCR
METALIARE | METALIARE
METLAIRE | METLAIRE
MILLER | MILLER
MILLER AIR | MILLER AIR
MIRTONE | MIRTONE
MITSUBI | MITSUBI
MITSUBISHI | MITSUBISHI
MIURA | MIURA
MK PLASTICS | MK PLASTICS
MODA LIGHT | MODA LIGHT
MODINE | MODINE
MO TRAIL | MO TRAIL
MO TRAL | MO TRAL
MOODY | MOODY
MORTEC | MORTEC
MTEALAIRE | MTEALAIRE
MURAY | MURAY
MURRAY | MURRAY
N/A | NOT AVAILABLE
NA | NOT AVAILABLE
NAILOR-HART | NAILOR-HART
NARRY | NARRY
NATIONAL ENVIRONMENTAL PRODUCT | NATIONAL ENVIRONMENTAL PRODUCT
NATIONWIDE | NATIONWIDE
NATWIDE | NATWIDE
NEW HOR | NEW HOR
NEWSTAR | NEWSTAR
NORTEK AIR SOLUTIONS | NORTEK AIR SOLUTIONS BY GOVERNAIR
NORTHEA | NORTHEA
NULITE | NULITE
NULL | NULL
OASIS | OASIS
OASIS CORP | OASIS CORP
OASIS EBCO | OASIS EBCO
OCTAGON | OCTAGON
OFE | OFE
OLATHE | OLATHE
ONAN | ONAN
ORACLE LIGHTING | ORACLE LIGHTING
OTHER | OTHER
OTIS | OTIS
PACO | PACO
PACO PUMP | PACO PUMP
PANELCLAW | PANELCLAW
PARKER CONTROL | PARKER CONTROL
PARKER CONTROL VVT | PARKER CONTROL VVT
PARKER CONTROLS | PARKER CONTROLS
PATTERSON | PATTERSON
PATTERSON PUMP COMPANY | PATTERSON PUMP COMPANY
PATTERSON-KELLEY | PATTERSON-KELLEY
PAYNE | PAYNE
PEERLES | PEERLES
PEERLESS | PEERLESS
PEERLESS WINSMITH | PEERLESS WINSMITH
PENN | PENN
PENN VENTILATOR | PENN VENTILATOR
PENN VENTILATOR CO | PENN VENTILATOR CO
PENN VENTILATORS | PENN VENTILATORS
PERFORM | PERFORM
PESV | PESV
PHOENIX | PHOENIX
PHOENIX CONTROLS | PHOENIX CONTROLS
PLP SOLAR | PLP SOLAR
PLYM | PLYM
PLYM. | PLYM.
PLYMOUTH | PLYMOUTH
PNEUMATECH | PNEUMATECH
POLARIS | POLARIS
PONTIAC | PONTIAC
POWER LINE | POWER LINE
POWERED AIRE | POWERED AIRE
POWEREX | POWEREX
POWERLINE | POWERLINE
PRICE | PRICE
PRO LINK | PRO LINK
PURE - STEAM | PURE - STEAM
PURE STEAM | PURE STEAM
PURE-STEAM | PURE-STEAM
PURE-STEAM / TRANE | PURE-STEAM / TRANE
PVC | PVC
PVC PENN VENTILATO | PVC PENN VENTILATO
PVI INDUSTRIES, INC LLC | PVI INDUSTRIES, INC LLC
Q MARK | Q MARK
QMARK | QMARK
QUALITY AIR | QUALITY AIR
QUANTUM FLOW | QUANTUM FLOW
QUINCY
QUINCY CLIMATE CONTROL | QUINCY CLIMATE CONTROL
QUNICY | QUNICY
RANDELL/ABSOLUT/AI | RANDELL/ABSOLUT/AI
RAOCO | RAOCO
RAYPAK | RAYPAK
REDD-I | REDD-I
REMINGTON | REMINGTON
REZNOR | REZNOR
RH-1-2A | RH-1-2A
RHEEM | RHEEM
RHEEM/RUDD | RHEEM/RUDD
RITTLING | RITTLING
ROOF MANAGEMENT INC | ROOF MANAGEMENT INC
ROTOPLAS | ROTOPLAS
RTANE | RTANE
RUND | RUND
RUUD | RUUD
S&C | S&C
SANYO | SANYO
SCHNEIDER | SCHNEIDER
SCOT | SCOT
SCOTSMAN | SCOTSMAN ICE MACHINE
SECA | SECA
SEIMENS | SEIMENS
SEMCO | SEMCO
SEMCO INCORPORATED | SEMCO INCORPORATED
SHARP | SHARP
SHIPCO | SHIPCO
SHIPMAT | SHIPMAT
SIEMENS | SIEMENS
SIMPLEX | SIMPLEX
SIMPLICITY | SIMPLICITY
SINGER | SINGER
SLOAN | SLOAN
SMOKEY | SMOKEY
SNYDER | SNYDER
SNYDER BARRY | SNYDER BARRY
SNYDER GENERAL | SNYDER GENERAL
SNYDER/MCQUAY | SNYDER/MCQUAY
SONDEX | SONDEX
SPACE PAC | SPACE PAC
SPECLZD | SPECLZD
SPEED AIRE | SPEED AIRE
SPENCE | SPENCE
SQUARE D | SQUARE D
STANCOR | STANCOR
STANCOR OIL MINDER | STANCOR OIL MINDER
STERLING | STERLING
STERLING FLUID SYSTEMS | STERLING FLUID SYSTEMS
STROBIC AIR CORP | STROBIC AIR CORP
STROBIC AIR CORPORATION | STROBIC AIR CORPORATION
SUER TEMP | SUER TEMP
SULLIVAN-PALATEK | SULLIVAN COMPRESSED AIR PRODUCTS
SUNPOWER | SUNPOWER
SUNROC | SUNROC
SUPEROR | SUPEROR
SUPREME AIR LV | SUPREME AIR LV
SURE - TEMP | SURE - TEMP
SURE TEMP | SURE TEMP
SYNCROFLO | SYNCROFLO
SYNDER GENERAL | SYNDER GENERAL
TACA | TACA
TACO | TACO
TACO SMARTPLUS | TACO SMARTPLUS
TASKMASTER | TASKMASTER
TECHNICAL | TECHNICAL
TEK ENGRNG | TEK ENGRNG
TEK-AIR | TEK-AIR
TEMP MASTER | TEMP MASTER
TEMP MASTER CORP | TEMP MASTER CORP
TEMPMASTER | TEMPMASTER
TEMTROL | TEMTROL
THE PANEL SHOPPE | THE PANEL SHOPPE
THERMO - KOOL | THERMO - KOOL
THYSSENKRUPP | THYSSENKRUPP
TITUS | TITUS
TORO | TORO
TOWMOTO | TOWMOTO
TOYOTA | TOYOTA
TPI | TPI
TRANE | TRANE
TRANE CLIMATE CHAN | TRANE CLIMATE CHAN
TRANE CORP | TRANE CORP
TRANE CORP. | TRANE CORP.
TRANE(UNITRANE) | TRANE(UNITRANE)
TRANE/VARIABLE | TRANE/VARIABLE
TRANTER | TRANTER
TRUMBULL | TRUMBULL
TUMTR | TUMTR
TUTTLE&BAILEY | TUTTLE&BAILEY
TWIN CITY | TWIN CITY
TWIN CITY FAN | TWIN CITY FAN
TYPHOON | TYPHOON
U-TOTEM | U-TOTEM
ULTRA FILTER | ULTRA FILTER
ULTRATROC | ULTRATROC
UNITURG | UNITURG
UPONOR | UPONOR
US DRAFT CO. | US DRAFT CO.
US ELECTRIC | US ELECTRIC
US ELECTRIC WORKS | US ELECTRIC WORKS
US ELECTRICAL | US ELECTRICAL
US MOTORS | US MOTORS
UTILITY | UTILITY
VENTROL | VENTROL
VERMEER | VERMEER
VERTIFLOW | VERTIFLOW
VIDABOX / DOUGLAS LTG. | VIDABOX / DOUGLAS LTG.
VOLVO | VOLVO
VULCAN | VULCAN
WADE | WADE
WATERSAVER | WATERSAVER
WATERTRONICS | WATERTRONICS
WATTS | WATTS
WEG | WEG
WEIL | WEIL
WEIL-MCLAIN | WEIL-MCLAIN
WEIMAN | WEIMAN
WELLS | WELLS
WESSELS COMPANY | WESSELS COMPANY
WESTINGHOUSE | WESTINGHOUSE
WHIRLPOOL | WHIRLPOOL
WHITE WESTINGHOUSE | WHITE WESTINGHOUSE
WHITE-WESTINGHOUSE | WHITE-WESTINGHOUSE
WINCO | WINCO
WINDMASTER | WINDMASTER
WORTHINGTON | WORTHINGTON
XYLEM | XYLEM
YORK | YORK
YORK INTERNATIONAL | YORK INTERNATIONAL
YORK/JCI | YORK/JCI
ZEKS | ZEKS
ZENITH | ZENITH
ZOELLER | ZOELLER
ZURN | ZURN
ZURN CLARAGE FAN | ZURN CLARAGE FAN

## Asset Sync Export
OmniClass | GUID | asset_tag | new_aim_asset | description | asset_type | asset_group (acronym) | status_code | rentable_yn | region_code | fac_id | bldg | location_code | loc_id | lockout | manufacture_code | manu_part_number | serial_no | shop | date_purchased | purchase_price | replacement_cost | parent_asset_tag
|  | STRING(25) | STRING(1) | STRING(255) | STRING(20) | STRING(25) | STRING(20) | STRING(1) | STRING(30) | STRING(30) | STRING(30) | STRING(30) | STRING(34) | STRING(1) | STRING(30) | STRING(30) | STRING(50) | STRING(25) | DATE | NUMBER(16,2) | NUMBER(16,2) | STRING(25)