## LAB EQUIPMENT SCHEDULE
LAB EQUIPMENT SCHEDULE PI name Building, room number
Equipment Index No | EQUIPMENT NAME | Equipment Index No | MANUFACTURER | MODEL NUMBER | Qty | Mount Type | DIMENSIONS |  |  | Equipment Phase | Existing Location | CFCI* | MECHANICAL REQUIREMENTS |  |  | Mechanical Questions | PLUMBING REQUIREMENTS | [8 empty] | Plumbing Questions | ELECTRICAL REQUIREMENTS |  |  |  |  | Electrical Questions | General_Notes | Room: Level | LAB_SCHEDULE
[7 empty] | WIDTH | DEPTH | HEIGHT |  |  | OFCI* OFOI* | Exhaust Connection | Heat Rejection | Temp Control |  | Drain Required | Chilled water loop | Cold Water | Hot Water | DI Water | Steam | Natural Gas | Specialty Gas | Specialty Gas Comment |  | Voltage 120 or 208 | Hertz/ Amp | Emergency Power | Data Jack | NEMA Plug |  | ADA
C101 (02-A1317)
Example Equipment
C103 (02-A1805)
PREP LAB
PL01 | REFRIGERATOR |  | VWR |  | 1 | FLOOR | 32" | 36" | 72" | FUTURE | 101 | OFOI | No | No | No | [18 empty] | LEVEL 02 | Yes
PL02 | PRE-MIX FOUNTAIN |  | Lancer | 1506E | 1 | BENCH | 20" | 30" | 27" | EXISTING | 102 | OFCI |  |  |  |  | Yes | [6 empty] | CO2 | [9 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
[34 empty] | LEVEL 02 | Yes
Required Research Equipment: | [11 empty] | CFCI* = CONTRACTOR FURNISHED CONTRACTOR INSTALLED
a. | Mainly equipment with special utility needs or large in physical size. Small pieces with no special requirements are not needed. | [10 empty] | OFCI* = OWNER FURNISHED CONTRACTOR INSTALLED
b. | As well as product data /website links of the existing or planned purchase equipment. | [10 empty] | OFOI* = OWNER FURNISHED OWNER INSTALLED
OFCI* = OWNER FURNISHED CONTRACTOR INSTALLED
OFOI* = OWNER FURNISHED OWNER INSTALLED
highlighted cells are examples, delete after review