

955 Fowler Street NW, Room 301B

Atlanta, Georgia 30318

(P) 404-894-FIRE (3473)

(E) fire@ehs.gatech.edu

**Plan Review Summary**

**Building Information**

|  |  |  |  |
| --- | --- | --- | --- |
| Project Name: | Structural Lab-HPEPL Arcjet | Floor/Room #: | Outdoor-114, 122 |
| Building #: | 149 | Department: | Aerospace Engineering |
| Occupancy Type: | Business | Budget: | 50,000 |
| Construction Type: | Choose an item. | Type of Review: | Construction/Pricing |

**Project Management**

|  |  |
| --- | --- |
| Project Manager: | Greg Spiro |
| Architect/Engineer of Record: | Exp |
| Construction Manager: | Click here to enter text. |
| Aim Project Number: | 0360-2016 |

**Reviewer Information**

|  |  |  |  |
| --- | --- | --- | --- |
| Reviewer Name: | Cary Redman | Date Received: | 6/24/2016 |
| Disposition: | Choose an item. | Date Completed: | Click here to enter a date. |

**Status Statement**

Note:

**Review Comments:**

**General Note:**

1. Inspection requests: http://www.ehs.gatech.edu/fire/inspection-request
2. Hot Work Permit Request: http://www.ehs.gatech.edu/fire/permit-request/hot\_work

**Additional Requirements *(as needed)*:**

1. Fire Emergency Response Plans
2. Red Book Completion and Fixed location Designation

**Plan / Shop Drawings Required:**

1. Fire Suppression
2. Fire Alarm

**Inspections Required:**

1. Pre-Construction Meeting
2. Thrust Block Inspections
3. Underground Pressure Test
4. System Flush
5. Sprinkler Pipe Inspections
6. Rough-in
7. 50% Wall (Rated walls, doors, dampers, horizontal penetrations, etc.)
8. 80% Ceiling, Alarm, Sprinkler (vertical penetrations, junction boxes, lights tied at corners, sprinkler and fire alarm roughed in, etc.)
9. 100% Construction, Alarm Commissioning, Sprinkler Commissioning, Certificate of Occupancy (all work complete, commissioning of systems, close-out documents, etc.)

**Permits Required:**

1. Demolition
2. Construction / Interior Renovation
3. Fire Suppression System
4. Fire Alarm

**Permits Issued:**

1. Demolition
2. Construction / Interior Renovation
3. Fire Suppression System
4. Fire Alarm