

955 Fowler Street NW, Room 301B

Atlanta, Georgia 30318

404-894-FIRE (3473)

**Plan Review Summary**

**Building Information**

|  |  |  |  |
| --- | --- | --- | --- |
| Project Name: | Saad Bhamia Lab Fit Up | Floor/Room #: | L2115 & 2350 |
| Building #: | 147 | Department: | College of Engineering |
| Occupancy Type: | Business | Budget: | $388,000.00 |
| Construction Type: | IIB | Type of Review: | Fire Suppression |

**Project Management**

|  |  |
| --- | --- |
| Project Manager: | Bill Oswell |
| Architect/Engineer of Record: | Kyle Epstein |
| Construction Manager: | Mitchell Shelton |
| Aim Project Number: | 0376-2017 |

**Reviewer Information**

|  |  |  |  |
| --- | --- | --- | --- |
| Reviewer Name: | Larry Labbe | Date Received: | 1/10/2018 |
| Disposition: | Approved | Date Completed: | 2/2/2018 |

**Status Statement**

Note: Fire suppression modification as part of a permitted construction project.

**General Note:**

1. Inspection requests: http://www.ehs.gatech.edu/fire/inspection-request
2. Hot Work Permit Request: http://www.ehs.gatech.edu/fire/permit-request/hot\_work

**Inspections Required:**

1. 80% Ceiling, Alarm, Sprinkler (vertical penetrations, junction boxes, lights tied at corners, sprinkler and fire alarm roughed in, etc.)
2. 100% Construction, Alarm Commissioning, Sprinkler Commissioning, Certificate of Occupancy (all work complete, commissioning of systems, close-out documents, etc.)

**Permits Issued:**

1. Fire Suppression System: 2018-FS-008